## ESTIMATE
PROJECT ID: | OFFICE BUILDING
HAMPTON PARK HEALTH AND HUMAN SERVICES OFFICE BUILDING.
ITEM # | DESCRIPTION | QUANTITY | UNIT | UNIT COST (Labor+ Material) | TOTAL COST (Labor+ Material) | TRADE COST
GENERAL REQUIREMENTS
3 | Supervision | 1 | LS | 0 | 0
2 | Permits | 1 | LS | 0 | 0
1 | Final Cleanup | 1 | LS | 0 | 0
2 | Mobilization Costs (EXPORT OF DIRT) | 1 | LS | 0 | 0
3 | Project Overheads | 1 | LS | 0 | 0
4 | Bonds | 1 | LS | 0 | 0
5 | Temporary Control & Facilities | 1 | LS | 0 | 0
| Subtotal (General Requirements) |  |  |  |  | 0
02 — Site Construction
SITE PLAN
6 | 1 - PAVING TYPE 1 - CONCRETE / COLOR ; STANDARD GRAY; FINISH MEDIUM BROOM FINISH | 6494.92 | SQ FT | 6 | 38969.52
7 | 2A - BRICK PAVING TYPE 1A - PEDESTRIAN / MANUFACTURER: BELGARD HOLLAND STONE COLOR : TAN SIZE : 4" X 8" X 2 X 1/4" PATTERN: MODIFIED BASKETWEAVE | 3814.64 | SQ FT | 9 | 34331.76
8 | 2B - BRICK PAVING TYPE 1B - PEDESTRIAN / MANUFACTURER: BELGARD HOLLAND STONE COLOR : TAN SIZE : 4" X 8" X 2 X 1/4" PATTERN: 45% HERRINGBONE | 278.22 | SQ FT | 9 | 2503.98
9 | 3-PAVING TYPE 2 - PORCELAIN TILE MANUFACTURER: MIRAGE PRODUCT: QUARZITI 2.0 COLOR: WATERFALL SIZE: 24"x36"x34 " PATTERN: RUNNING BOND | 1186.21 | SQ FT | 12 | 14234.52
10 | 5-CROSSWALKS 5 PRICE ALTERNATE - STAMPED ASPHALT MANUFACTURER: ENNIS-FLINT MATERIAL: TRAFFIC PATTERNS XD PATTERN: STANDARD HERRINGBONE WITH SOLDIER COURSE STRAIGHT BORDER | 833.93 | SQ FT | 5 | 4169.65
11 | 4-PRE-CAST CURB | 138.82 | FT | 7 | 971.74
12 | TG-TREE GRATE | 252.28 | SQ FT | 25 | 6307
13 | PLANTING . TYP- | 3337.4 | SQ FT | 2 | 6674.8
14 | BR-BIKE RACK | 6 | EA | 150 | 900
15 | B-BENCH | 2 | EA | 250 | 500
16 | T-TRASH RECEPTACLE | 2 | EA | 100 | 200
EXCAVATION
17 | EXCAVATION FOR CONCRETE SLAB 12" | 737.037 | CY | 110 | 81074.0741
18 | EXCAVATON FOR FOOTNG | 165 | CY | 110 | 18150
19 | EXCAVATON FOR PAD FOOTNG | 510 | CY | 110 | 56100
| Subtotal (Construction) |  |  |  |  | 265087.0441
Division 03 — Concrete
CONTINIOUS FOOTING
20 | SB3 2' WIDTH 2' THICK 98'- 4" LENGTH REINFORCED W/ 6 - # 7 | 14.567 | CY | 750 | 10925.25
21 | SB2 3' WIDTH 2' THICK 180' LENGTH REINFORCED W/ 6 - # 9 TOP 6 - # 9 BOTTOM | 40 | CY | 750 | 30000
22 | S301/ 19 (24" WIDTH 12" DEEP) 138' LENGTH | 10.22 | CY | 750 | 7665
23 | S301/18 (24" WIDTH 12" DEEP) 138' LENGTH | 7.5 | CY | 750 | 5625
24 | S301/17 (24" WIDTH 12" DEEP) 37' - 3" LENGTH | 2.75 | CY | 750 | 2062.5
25 | FOOTING | 81.8 | CY | 750 | 61350
PAD FOOTING
26 | F3.0 (3'- 0" X 3' - 0") 1' - 3" THICK 4- #5 BOTTOM EA WAY (8 EACH) | 3.33 | CY | 700 | 2331
27 | F11.0 (11'- 0" X 11' - 0") 2' - 8" THICK SQ 12- #8 BOTTOM EA WAY (8 EACH) | 95.724 | CY | 700 | 67006.8
28 | F10.0 (10'- 0" X 10' - 0") 2' - 6" THICK 11- #7 BOTTOM EA WAY (5 EACH) | 46.296 | CY | 700 | 32407.2
29 | F8.0 (8'- 0" X 8' - 0") 2' - 2" THICK 10- #7 BOTTOM EA WAY (1 EACH) | 5.143 | CY | 700 | 3600.1
30 | F10.0A(10'- 0" X 10' - 0") 2' - 6" THICK 11- #6 TOP EA WAY 11- #8 BOTTOM EA WAY (3 EACH) | 27.777 | CY | 700 | 19443.9
31 | F18.0A (18'- 0" X 18' - 0") 4' - 0" THICK 14- #7 TOP EA WAY 19- #9 BOTTOM EA WAY (2 EACH) | 96 | CY | 700 | 67200
32 | F16.0 (16'- 0" X 16' - 0") 4' - 0" THICK 12- #7 TOP EA WAY 17- #9 BOTTOM EA WAY (4 EACH) | 151.73 | CY | 700 | 106211
33 | F12.0 (12'- 0" X 12' - 0") 2' - 10" THICK 13- #8 BOTTOM EA WAY (4 EACH) | 60.373 | CY | 700 | 42261.1
34 | F9.0 (9'- 0" X 9' - 0") 2' - 3" THICK 10- #7 BOTTOM EA WAY (1 EACH) | 6.75 | CY | 700 | 4725
CONCRETE SLAB
35 | TYPICAL STRUCTURAL SLAB ON GRADE SHALL BE 5" (FC' - 3000 PSI) CONCRETE REINFORCED WITH 6" X 6" - W2.9/ W2.9 WELDED WIRE REINFORCEMENT POURED OVER 10 MIL VAPOR BARRIER OVER 4" DRAINAGE FILL, | 312.9 | CY | 800 | 250320
36 | STRUCTURAL FLOOR SHALL BE 3 1/4" LIGHT WEIGHT CONCRETE TOPPING SLAB (FC' = 4000) REINFORCED WITH 6" X 6" W4. / W4. WWR POURED OVER 2" X 19 GUAGE PAINTED COPOSITE METAL DECK (5 1/4" TOTAL THICKNESS). | 19950 | SQ FT | 8.5 | 169575
37 | 3 TO 5TH FLOOR STRUCTURAL FLOOR SHALL BE 3 1/4" LIGHTWEIGHT CONCRETE TOPPING SLAB(FC'=4000PSI) REINFORCED WITH 6" X 6" -W4.0 /W4.0 WWR POURED OVER 2" X 19 GUAGE PAINTED COPOSITE METAL DECK (5 1/4" TOTAL THICKNESS). (21150 SQ FT) | 63450 | SQ FT | 8.5 | 539325
38 | STRUCTURAL FLOOR SHALL BE 3 1/4" LIGHTWEIGHT CONCRETE TOPPING SLAB(FC'=4000PSI) REINFORCED WITH 6" X 6" -W4.0 /W4.0 WWR POURED OVER 2" X 19 GUAGE PAINTED COPOSITE METAL DECK (5 1/4" TOTAL THICKNESS). | 21065 | SQ FT | 8.5 | 179052.5
| Subtotal (CONCRETE) |  |  |  |  | 1601086.35
Division 04 — Masonry
CMU WALL
39 | 8" CMU WALL 138' LENGTH | 241.5 | SQ FT | 35 | 8452.5
40 | 14" CMU WALL 138' - 5" LENGTH | 242 | SQ FT | 35 | 8470
41 | BRICK WORK | 995.18 | SQ FT | 18 | 17913.24
| Subtotal (Masonry) |  |  |  |  | 34835.74
Division 05 — Metals
WALL FRAMING
FIRST FLOOR
42 | EXTERIOR METAL FRAMING WALL @ 16" O.C (5552 SQ FT) | 3000.7502 | FT | 3.5 | 10502.6257
43 | TOP TRACK PLATE | 250 | FT | 3.5 | 875
44 | BOTTOM TRACK PLATE | 250 | FT | 3.5 | 875
45 | X01 - INTERIOR METAL FRAMING WALL @ 16" O.C (5552 SQ FT) | 4165.0413 | FT | 3.2 | 13328.132
46 | TOP TRACK PLATE | 347 | FT | 3.2 | 1110.4
47 | BOTTOM TRACK PLATE | 347 | FT | 3.2 | 1110.4
48 | X06 - INTERIOR METAL FRAMING WALL @ 16" O.C (32 SQ FT) | 24 | FT | 3.2 | 76.8
49 | TOP TRACK PLATE | 2 | FT | 3.2 | 6.4
50 | BOTTOM TRACK PLATE | 2 | FT | 3.2 | 6.4
51 | X07 - INTERIOR METAL FRAMING WALL @ 16" O.C (6036 SQ FT) | 4525.1313 | FT | 3.2 | 14480.4201
52 | TOP TRACK PLATE | 377 | FT | 3.2 | 1206.4
53 | BOTTOM TRACK PLATE | 377 | FT | 3.2 | 1206.4
54 | Q27 - INTERIOR METAL FRAMING WALL @ 16" O.C (2336 SQ FT) | 1752.4381 | FT | 3.2 | 5607.802
55 | TOP TRACK PLATE | 160 | FT | 3.2 | 512
56 | BOTTOM TRACK PLATE | 160 | FT | 3.2 | 512
57 | Q27 A - INTERIOR METAL FRAMING WALL @ 16" O.C (2816 SQ FT) | 2112.5281 | FT | 3.2 | 6760.09
58 | TOP TRACK PLATE | 175.46 | FT | 3.2 | 561.472
59 | BOTTOM TRACK PLATE | 175.46 | FT | 3.2 | 561.472
SECOND FLOOR
60 | EXTERIOR METAL FRAMING WALL @ 16" O.C (1872 SQ FT) | 1404.3511 | FT | 3.67 | 5153.9685
61 | TOP TRACK PLATE | 144 | FT | 3.67 | 528.48
62 | BOTTOM TRACK PLATE | 144 | FT | 3.67 | 528.48
63 | X01 - INTERIOB69:B84R METAL FRAMING WALL @ 16" O.C (3679 SQ FT) | 2759.94 | FT | 3.4 | 9383.7959
64 | TOP TRACK PLATE | 283 | FT | 3.4 | 962.2
65 | BOTTOM TRACK PLATE | 283 | FT | 3.4 | 962.2
66 | X06 - INTERIOR METAL FRAMING WALL @ 16" O.C (179.5 SQ FT) | 134.6812 | FT | 3.4 | 457.916
67 | TOP TRACK PLATE | 13.81 | FT | 3.4 | 46.954
68 | BOTTOM TRACK PLATE | 13.81 | FT | 3.4 | 46.954
69 | X07 - INTERIOR METAL FRAMING WALL @ 16" O.C (767 SQ FT) | 575.3938 | FT | 3.4 | 1956.3391
70 | TOP TRACK PLATE | 59 | FT | 3.4 | 200.6
71 | BOTTOM TRACK PLATE | 59 | FT | 3.4 | 200.6
72 | Q27 - INTERIOR METAL FRAMING WALL @ 16" O.C (2227 SQ FT) | 1670.4951 | FT | 3.4 | 5679.6834
73 | TOP TRACK PLATE | 171.29 | FT | 3.4 | 582.386
74 | BOTTOM TRACK PLATE | 171.29 | FT | 3.4 | 582.386
75 | Q27 A - INTERIOR METAL FRAMING WALL @ 16" O.C (1679 SQ FT) | 1259.3323 | FT | 3.4 | 4281.7299
76 | TOP TRACK PLATE | 129.13 | FT | 3.4 | 439.042
77 | BOTTOM TRACK PLATE | 129.13 | FT | 3.4 | 439.042
SECOND FLOOR
3RD FLOOR
78 | EXTERIOR METAL FRAMING WALL @ 16" O.C (2002 SQ FT) | 1501.8755 | FT | 3.9 | 5857.3143
79 | TOP TRACK PLATE | 154 | FT | 3.9 | 600.6
80 | BOTTOM TRACK PLATE | 154 | FT | 3.9 | 600.6
81 | X01 - INTERIOB69:B84R METAL FRAMING WALL @ 16" O.C (3733 SQ FT) | 2800.3151 | FT | 3.6 | 10081.1343
82 | TOP TRACK PLATE | 287 | FT | 3.6 | 1033.2
83 | BOTTOM TRACK PLATE | 287 | FT | 3.6 | 1033.2
84 | X06 - INTERIOR METAL FRAMING WALL @ 16" O.C (162.5 SQ FT) | 121.9055 | FT | 3.6 | 438.8597
85 | TOP TRACK PLATE | 12.5 | FT | 3.6 | 45
86 | BOTTOM TRACK PLATE | 12.5 | FT | 3.6 | 45
87 | X07 - INTERIOR METAL FRAMING WALL @ 16" O.C (936 SQ FT) | 702.1755 | FT | 3.6 | 2527.832
88 | TOP TRACK PLATE | 72 | FT | 3.6 | 259.2
89 | BOTTOM TRACK PLATE | 72 | FT | 3.6 | 259.2
90 | Q27 - INTERIOR METAL FRAMING WALL @ 16" O.C (2191 SQ FT) | 1643.2858 | FT | 3.6 | 5915.829
91 | TOP TRACK PLATE | 168.54 | FT | 3.6 | 606.744
92 | BOTTOM TRACK PLATE | 168.54 | FT | 3.6 | 606.744
93 | Q27 A - INTERIOR METAL FRAMING WALL @ 16" O.C (1534 SQ FT) | 1150.7877 | FT | 3.6 | 4142.8357
94 | TOP TRACK PLATE | 118 | FT | 3.6 | 424.8
95 | BOTTOM TRACK PLATE | 118 | FT | 3.6 | 424.8
4TH FLOOR
96 | EXTERIOR METAL FRAMING WALL @ 16" O.C (2015 SQ FT) | 1511.6279 | FT | 4.1 | 6197.6744
97 | TOP TRACK PLATE | 155 | FT | 4.1 | 635.5
98 | BOTTOM TRACK PLATE | 155 | FT | 4.1 | 635.5
99 | X01 - INTERIOB69:B84R METAL FRAMING WALL @ 16" O.C (3666 SQ FT) | 2750.2851 | FT | 3.8 | 10451.0833
100 | TOP TRACK PLATE | 282 | FT | 3.8 | 1071.6
101 | BOTTOM TRACK PLATE | 282 | FT | 3.8 | 1071.6
102 | X06 - INTERIOR METAL FRAMING WALL @ 16" O.C (84.11 SQ FT) | 63.0983 | FT | 3.8 | 239.7734
103 | TOP TRACK PLATE | 6.47 | FT | 3.8 | 24.586
104 | BOTTOM TRACK PLATE | 6.47 | FT | 3.8 | 24.586
105 | X07 - INTERIOR METAL FRAMING WALL @ 16" O.C (845 SQ FT) | 633.9085 | FT | 3.8 | 2408.8522
106 | TOP TRACK PLATE | 65 | FT | 3.8 | 247
107 | BOTTOM TRACK PLATE | 65 | FT | 3.8 | 247
108 | Q27 - INTERIOR METAL FRAMING WALL @ 16" O.C (1755 SQ FT) | 1316.5791 | FT | 3.8 | 5003.0008
109 | TOP TRACK PLATE | 135 | FT | 3.8 | 513
110 | BOTTOM TRACK PLATE | 135 | FT | 3.8 | 513
111 | Q27 A - INTERIOR METAL FRAMING WALL @ 16" O.C (1535 SQ FT) | 1151.1778 | FT | 3.8 | 4374.4756
112 | TOP TRACK PLATE | 118.04 | FT | 3.8 | 448.552
113 | BOTTOM TRACK PLATE | 118.04 | FT | 3.8 | 448.552
5TH FLOOR
114 | EXTERIOR METAL FRAMING WALL @ 16" O.C (1989 SQ FT) | 1492.123 | FT | 4.3 | 6416.129
115 | TOP TRACK PLATE | 153 | FT | 4.3 | 657.9
116 | BOTTOM TRACK PLATE | 153 | FT | 4.3 | 657.9
117 | X01 - INTERIOB69:B84R METAL FRAMING WALL @ 16" O.C (3644 SQ FT) | 2733.6084 | FT | 4 | 10934.4336
118 | TOP TRACK PLATE | 280.3 | FT | 4 | 1121.2
119 | BOTTOM TRACK PLATE | 280.3 | FT | 4 | 1121.2
120 | X06 - INTERIOR METAL FRAMING WALL @ 16" O.C (59.8 SQ FT) | 44.8612 | FT | 4 | 179.4449
121 | TOP TRACK PLATE | 4.6 | FT | 4 | 18.4
122 | BOTTOM TRACK PLATE | 4.6 | FT | 4 | 18.4
123 | X07 - INTERIOR METAL FRAMING WALL @ 16" O.C (767 SQ FT) | 575.3938 | FT | 4 | 2301.5754
124 | TOP TRACK PLATE | 59 | FT | 4 | 236
125 | BOTTOM TRACK PLATE | 59 | FT | 4 | 236
126 | Q27 - INTERIOR METAL FRAMING WALL @ 16" O.C (1762 SQ FT) | 1321.5529 | FT | 4 | 5286.2116
127 | TOP TRACK PLATE | 135.51 | FT | 4 | 542.04
128 | BOTTOM TRACK PLATE | 135.51 | FT | 4 | 542.04
129 | Q27 A - INTERIOR METAL FRAMING WALL @ 16" O.C (1541 SQ FT) | 1156.3466 | FT | 4 | 4625.3863
130 | TOP TRACK PLATE | 118.57 | FT | 4 | 474.28
131 | BOTTOM TRACK PLATE | 118.57 | FT | 4 | 474.28
6TH FLOOR
132 | EXTERIOR METAL FRAMING WALL @ 16" O.C (2548 SQ FT) | 1911.4779 | FT | 4.5 | 8601.6504
133 | TOP TRACK PLATE | 196 | FT | 4.5 | 882
134 | BOTTOM TRACK PLATE | 196 |  | 4.5 | 882
135 | X01 - INTERIOB69:B84R METAL FRAMING WALL @ 16" O.C (3550 SQ FT) | 2662.4156 | FT | 4.2 | 11182.1455
136 | TOP TRACK PLATE | 273 | FT | 4.2 | 1146.6
137 | BOTTOM TRACK PLATE | 273 | FT | 4.2 | 1146.6
138 | X06 - INTERIOR METAL FRAMING WALL @ 16" O.C (82.68 SQ FT) | 62.0255 | FT | 4.2 | 260.5071
139 | TOP TRACK PLATE | 6.4 | FT | 4.2 | 26.88
140 | BOTTOM TRACK PLATE | 6.4 | FT | 4.2 | 26.88
141 | X07 - INTERIOR METAL FRAMING WALL @ 16" O.C (950 SQ FT) | 712.4156 | FT | 4.2 | 2992.1455
142 | TOP TRACK PLATE | 73.05 | FT | 4.2 | 306.81
143 | BOTTOM TRACK PLATE | 73.05 | FT | 4.2 | 306.81
144 | Q27 - INTERIOR METAL FRAMING WALL @ 16" O.C (1756 SQ FT) | 1317.3593 | FT | 4.2 | 5532.9092
145 | TOP TRACK PLATE | 135.5 | FT | 4.2 | 569.1
146 | BOTTOM TRACK PLATE | 135.5 | FT | 4.2 | 569.1
147 | Q27 A - INTERIOR METAL FRAMING WALL @ 16" O.C (1541 SQ FT) | 1155.859 | FT | 4.2 | 4854.6077
148 | TOP TRACK PLATE | 118.5 | FT | 4.2 | 497.7
149 | BOTTOM TRACK PLATE | 118.5 | FT | 4.2 | 497.7
ROOF
150 | ROOF DECK SHALL BE 1.5 TYPE B X 22 GAUGE GALVANIZED METAL DECK (2 SPAN MINIMUM) | 12350 | SQ FT | 12 | 148200
STAIR
151 | STEEL PAN, TRED & RISERS, 2ND FLOOR STAIR 6' - 7" WIDTH 11" TREED 7" RISER (18 STEPS) | 190 | SQ FT | 36 | 6840
152 | CONCRETE TRED | 100.8 | SQ FT | 24 | 2419.2
153 | CONCRETE LANDING | 88 | SQ FT | 24 | 2112
154 | 3 TO LEVE 6 STAIR TYPE 4' - 4" WIDTH 11" TREED 7" RISER (88 STEPS) | 610 | SQ FT | 24 | 14640
155 | CONCRETE TRED | 305 | SQ FT | 15 | 4575
156 | LANDING | 200 | SQ FT | 15 | 3000
157 | STEEL STRINGERS | 314 | FT | 75 | 23550
BEAM
SECOND FLOOR
158 | W 18 X 35 (28) | 227.34 | FT | 77 | 17505.18
159 | W 18 X 106 (28) | 99.89 | FT | 233.2 | 23294.348
160 | W 16 X 31 (14) | 29.5 | FT | 68.2 | 2011.9
161 | W 16 X 31 (18) | 26.42 | FT | 68.2 | 1801.844
162 | W 16 X 31 (26) | 1136.15 | FT | 68.2 | 77485.43
163 | W 18 X 40 (28) | 29.91 | FT | 88 | 2632.08
164 | W 18 X 40 (26) | 85.74 | FT | 88 | 7545.12
165 | W 21 X 50 (26) | 29.8 | FT | 110 | 3278
166 | W 14 X 22 (18) | 385.75 | FT | 48.4 | 18670.3
167 | W 21 X 50 (26) | 869.71 | FT | 110 | 95668.1
168 | W 10 X 15 (8) | 198.18 | FT | 33 | 6539.94
169 | W 12 X 19 (4) | 59.32 | FT | 41.8 | 2479.576
170 | W 18 X 106 (32) C = 1/2" | 59.97 | FT | 233.2 | 13985.004
171 | W 24 X 55 | 201.17 | FT | 121 | 24341.57
172 | W 18 X 50 | 12.15 | FT | 110 | 1336.5
173 | W 18 X 119 | 52.26 | FT | 261.8 | 13681.668
174 | W 24 X 55 (28) | 60.56 | FT | 121 | 7327.76
175 | HSS 8 X 4 X 3 / 8 | 6.34 | FT | 110 | 697.4
176 | HSS 12 X 4 X 3 / 8 | 16.76 | FT | 176 | 2949.76
177 | C 15 X 33.9 | 33.3 | FT | 74.58 | 2483.514
178 | C 12 X 20.7 | 56.57 | FT | 45.54 | 2576.1978
179 | HSS 12 X 4 X 3 / 8 | 172.3 | FT | 176 | 30324.8
180 | HSS 10 X 8 X 5 / 8 (LSV) LOW | 390.58 | FT | 132 | 51556.56
181 | HSS 12 X 6 X 1 / 4 (LSV) TYPE | 16.71 | FT | 187 | 3124.77
3RD TO 5TH FLOOR
182 | W 16 X 31 | 1479.76 | FT | 204.6 | 302758.896
183 | W 14 X 22 (28 ) | 511.12 | FT | 145.2 | 74214.624
184 | W 21 X 50 (32) | 305.92 | FT | 330 | 100953.6
185 | W 21 X 50 (84) | 59.6 | FT | 330 | 19668
186 | W 21 X 50 (48) | 179.75 | FT | 330 | 59317.5
187 | W 24 X 55 (32) | 28.54 | FT | 363 | 10360.02
188 | W 24 X 62 (54) | 34.21 | FT | 409.2 | 13998.732
189 | W 24 X 55 (28) | 118.4 | FT | 363 | 42979.2
190 | W 21 X 50 (26) | 127.52 | FT | 330 | 42081.6
191 | W 21 X 50 (28) | 149.84 | FT | 330 | 49447.2
192 | W 21 X 50 (40) | 30.05 | FT | 330 | 9916.5
193 | W 16 X 31 (30) | 39.03 | FT | 204.6 | 7985.538
194 | W 16 X 31 (26) | 30.21 | FT | 204.6 | 6180.966
195 | W 18 X 40 (26) | 22.72 | FT | 264 | 5998.08
196 | W 10 X 15 (4) | 29.59 | FT | 99 | 2929.41
197 | W 14 X 22 (12) | 59.69 | FT | 145.2 | 8666.988
198 | W 14 X 22 (4 ) | 6.99 | FT | 145.2 | 1014.948
199 | W 18 X 40 (28 ) | 30.04 | FT | 264 | 7930.56
200 | W 21 X 50 (30 ) | 69.31 | FT | 330 | 22872.3
201 | W 12 X 19 (4 ) | 14.2 | FT | 125.4 | 1780.68
202 | W 12 X 19 (6) | 28.4 | FT | 125.4 | 3561.36
203 | W 18 X 40 (26) | 29.49 | FT | 264 | 7785.36
204 | W 12 X 19 (10) | 14.29 | FT | 125.4 | 1791.966
205 | W 12 X 19 (8) | 14.72 | FT | 125.4 | 1845.888
206 | FRAME B | 29.64 | FT | 660 | 19562.4
207 | FRAME C | 29.11 | FT | 660 | 19212.6
208 | FRAME A | 29.77 | FT | 660 | 19648.2
209 | C 15 X 33.9 | 15.69 | FT | 223.74 | 3510.4806
210 | C 12 X 20 .7 | 46.73 | FT | 136.62 | 6384.2526
211 | C6 X 8.2 | 13.49 | FT | 54.12 | 730.0788
212 | HSS8 X 4 X 3 /8 | 6.28 | FT | 330 | 2072.4
213 | HSS 12 X 4 X 3/8 | 30.87 | FT | 528 | 16299.36
6TH FLOOR
214 | W 10 X 15 (6) | 261.2 | FT | 33 | 8619.6
215 | W 10 X 15 | 141.54 | FT | 33 | 4670.82
216 | W 12 X 19 | 78.14 | FT | 41.8 | 3266.252
217 | W 14 X 22 | 323.32 | FT | 48.4 | 15648.688
218 | W 14 X 22 (10) | 10.64 | FT | 48.4 | 514.976
219 | W 14 X 22 (12) | 47.09 | FT | 48.4 | 2279.156
220 | W 16 X 31 (26) | 188.58 | FT | 68.2 | 12861.156
221 | W 16 X 31 (30) | 38.72 | FT | 68.2 | 2640.704
222 | W 14 X 22 (26) | 74.2 | FT | 48.4 | 3591.28
223 | W 16 X 31 (36) | 676.38 | FT | 68.2 | 46129.116
224 | W 16 X 31 (18) | 139.52 | FT | 68.2 | 9515.264
225 | W 16 X 31 (14) | 87.76 | FT | 68.2 | 5985.232
226 | W 16 X 31 (26) | 118.62 | FT | 68.2 | 8089.884
227 | W 16 X 31 (20) | 59.52 | FT | 68.2 | 4059.264
228 | W 18 X 40 (26) | 29.76 | FT | 88 | 2618.88
229 | W 16 X 31 (30) | 89.32 | FT | 68.2 | 6091.624
230 | W 21 X 50 (36) | 101.89 | FT | 110 | 11207.9
231 | W 21 X 50 (28) | 29.9 | FT | 110 | 3289
232 | W 18 X 40 (28) | 29.93 | FT | 88 | 2633.84
233 | W 16 X 31 | 174.95 | FT | 68.2 | 11931.59
234 | W 21 X 50 | 59.85 | FT | 110 | 6583.5
235 | W 24 X 55 | 60 | FT | 121 | 7260
236 | W 24 X 55 (28) | 30.07 | FT | 121 | 3638.47
237 | W 21 X 50 (32) | 297.05 | FT | 110 | 32675.5
238 | W 24 X 55 (32) | 29.78 | FT | 121 | 3603.38
239 | W 21 X 50 (48) | 242.49 | FT | 110 | 26673.9
240 | W 12 X 26 | 42.05 | FT | 57.2 | 2405.26
241 | W 12 X 19 (4) | 35.53 | FT | 41.8 | 1485.154
242 | W 12 X 19 (10) | 14.35 | FT | 41.8 | 599.83
243 | W 21 X 50 | 180.1 | FT | 110 | 19811
244 | W 24 X 62 (64) | 33.57 | FT | 136.4 | 4578.948
245 | W 10 X 15 (4) | 24.47 | FT | 33 | 807.51
246 | W 18 X 40 (26) | 29.77 | FT | 88 | 2619.76
247 | W 12 X 26(LOW) | 96.95 | FT | 57.2 | 5545.54
248 | FRAME B | 29.97 | FT | 220 | 6593.4
249 | FRAME C | 29.78 | FT | 220 | 6551.6
250 | FRAME A | 29.79 | FT | 220 | 6553.8
251 | FRAME D | 29.76 | FT | 220 | 6547.2
252 | C 15 X 33.9 | 31.71 | FT | 74.58 | 2364.9318
253 | C12 X 20.7 | 23.32 | FT | 45.54 | 1061.9928
254 | HSS 8 X4 X 1 / 4 | 50.5 | FT | 110 | 5555
255 | HSS12 X 4 X 3/8 | 31.26 | FT | 176 | 5501.76
256 | HSS 8 X 4 X 3/8 | 6.29 | FT | 110 | 691.9
ROOF
257 | W 14 X 22 | 169.6 | FT | 48.4 | 8208.64
258 | W 10 X 15 | 120.32 | FT | 33 | 3970.56
259 | W 18 X 76 | 162.85 | FT | 167.2 | 27228.52
260 | W 12 X 19 | 390.73 | FT | 41.8 | 16332.514
261 | W 16 X 31 | 622.28 | FT | 68.2 | 42439.496
262 | W 18 X 35 | 215.64 | FT | 77 | 16604.28
263 | W 18 X 40 | 118.81 | FT | 88 | 10455.28
264 | W 18 X 50 | 22.32 | FT | 110 | 2455.2
265 | W 18 X 76 | 228.44 | FT | 167.2 | 38195.168
266 | W 18 X 130 | 187.72 | FT | 286 | 53687.92
267 | W 24 X 55 | 735.12 | FT | 121 | 88949.52
268 | W 21 X 50 | 89.43 | FT | 110 | 9837.3
269 | FRAME B | 29.8 | FT | 220 | 6556
270 | FRAME C | 29.56 | FT | 220 | 6503.2
271 | FRAME A | 29.87 | FT | 220 | 6571.4
272 | FRAME D | 29.96 | FT | 220 | 6591.2
273 | C 15 X 33.9 | 17.27 | FT | 74.58 | 1287.9966
274 | HSS 12 X 6 X 3/8 | 463.18 | FT | 187 | 86614.66
275 | HSS12 X 6 X 1/4 (LSV) TRELLIS BEAM | 268.34 | FT | 187 | 50179.58
HIGH ROOF
276 | W 10 X 15 | 112.17 | FT | 121 | 13572.57
277 | W 14 X 22 | 170.4 | FT | 48.4 | 8247.36
278 | W 16 X 31 | 49.88 | FT | 68.2 | 3401.816
279 | HSS12 X 4 X 3/8 (LSV) TRELLIS BEAM | 14.38 | FT | 220 | 3163.6
POST
280 | HSS6 X 6 X 3/8 PARAPET POST (TYP) | 4 | EA | 200 | 800
281 | S321 /12 | 1 | EA | 200 | 200
282 | S321 /13 | 1 | EA | 200 | 200
283 | HSS 6 X 6 X 1/4" POST (TYP OF 5 ) | 5 | EA | 200 | 1000
284 | HSS 6 X 6 X 1/4" POST (TYP OF 4 ) | 8 | EA | 200 | 1600
285 | PARAPET POST | 48 | EA | 150 | 7200
METAL RAILING
286 | 36" HEIGHT HANDRAIL ON WALL | 290 | FT | 75 | 21750
287 | 42" HEIGHT HANDRAIL | 290 | FT | 155 | 44950
| Subtotal (METALS) |  |  |  |  | 2663515.7186
Division 06 — Wood and Plastics
PARTITION WALL
288 | PARTITION WALL IN BATH | 1200 | SQ FT | 23 | 27600
| Subtotal ( Wood and Plastics) |  |  |  |  | 27600
Division 07 — Thermal and Moisture Protection
289 | EXTERIOR WALL UNFACED BATT INSULATION R 13 MIN | 14426 | SQ FT | 2.4 | 34622.4
290 | CONTINUOUS 2" UNFACED MINERAL WOOLINSULATION R7.5 MIN | 2548 | SQ FT | 2.1 | 5350.8
291 | X01 INTERIOR WALL INSULATION | 23824 | SQ FT | 1.9 | 45265.6
292 | X06INTERIOR WALL INSULATION | 601 | SQ FT | 1.9 | 1141.9
293 | X07 INTERIOR WALL INSULATION | 10301 | SQFT | 1.9 | 19571.9
294 | Q27 INTERIOR WALL INSULATION | 12027 | SQ FT | 1.9 | 22851.3
295 | Q27A INTERIOR WALL INSULATION | 10646 | SQ FT | 1.9 | 20227.4
296 | WATERPROOFING MISSING AT ELEVATOR PITS. | 1195 | SQFT | 2.5 | 2987.5
| Subtotal (Thermal and Moisture Protection ) |  |  |  |  | 152018.8
Division 08 — Doors and Windows (EXTERIOR)
EXTERIOR DOOR
297 | 150/01 EXTERIOR DOOR (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1500 | 1500
298 | (2) V103/01 EXTERIOR DOOR (6' - 0" X 8' - 0" X 2" FULL LITE) | 1 | EA | 3200 | 3200
299 | (2) 140/01 EXTERIOR DOOR (4' - 7" X 8' - 2 X 3/4" X 1 3/4" FLUSH) | 1 | EA | 3000 | 3000
300 | 132/01 EXTERIOR DOOR (3' - 0" X 8' - 0" X 2" FULL LITE) | 1 | EA | 1350 | 1350
301 | 131/01 EXTERIOR DOOR (3' - 0" X 8' - 0" X 2" FULL LITE) | 1 | EA | 1300 | 1300
302 | 101/01 EXTERIOR DOOR (5' - 9 1/2" X 8' - 0" X 2" FULL LITE) | 1 | EA | 1100 | 1100
303 | (2) V101/01 EXTERIOR DOOR (6' - 0" X 8' - 0" X 2" FULL LITE) | 1 | EA | 3200 | 3200
304 | (2) V102/01 EXTERIOR DOOR (6' - 0" X 8' - 0" X 2" FULL LITE) | 2 | EA | 3200 | 6400
EXTERIOR DOOR HARDWARES
305 | NO. OF SETS: hydraulic closers push-pull set, lock cylinder, weather-stripping and thresholds. | 12 | EA | 175 | 2100
INTERIOR DOORS
306 | v103/02 (6' - 0" X 8' - 0" X 2" FULL LITE) | 1 | EA | 1550 | 1550
307 | 111/03 (6' - 0" X 7' - 0" X 1 3/4" NARROW LITE) | 1 | EA | 1450 | 1450
308 | 111/02 (6' - 0" X 7' - 0" X 1 3/4" NARROW LITE) | 1 | EA | 1450 | 1450
309 | 111/01 (6' - 0" X 7' - 0" X 1 3/4" NARROW LITE) | 1 | EA | 1450 | 1450
310 | 120/ 01 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
311 | 1ST1/01 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
312 | V102/02 (6' - 0" X 8' - 0" X 2" FULL LITE) | 1 | EA | 1550 | 1550
313 | V101/02 (6' - 0" X 8' - 0" X 2" FULL LITE) | 1 | EA | 1550 | 1550
314 | 121/01 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
315 | 121/02 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
316 | 132/02 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
317 | 131/02 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
318 | 130/01 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
319 | 1ST2/01 ( 6' - 0" X 7' - 0" X 1 3/4" NARROW LITE) | 1 | EA | 1450 | 1450
320 | 102/01(6' - 0" X 7' - 0" X 1 3/4" NARROW LITE) | 2 | EA | 1450 | 2900
321 | 220/01 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
322 | 224/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
323 | 223/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
324 | 2ST1/01 (6' - 0" X 7' - 0" X 1 3/4" NARROW LITE) | 1 | EA | 1450 | 1450
325 | 221/02 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
326 | 221/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
327 | 2ST2/01 (6' - 0" X 7' - 0" X 1 3/4" NARROW LITE) | 1 | EA | 1450 | 1450
328 | 324/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
329 | 323/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
330 | 320/01 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
331 | 321/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
332 | 321/02 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
333 | 3ST1 /01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
334 | 3ST2/02 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
335 | 420 / 01 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
336 | 421/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
337 | 421/02 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
338 | 423/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
339 | 424/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
340 | 4ST1/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
341 | 4ST2/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
342 | 520/01 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
343 | 521/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
344 | 523/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
345 | 524/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
346 | 521/02 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
347 | 5ST1/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
348 | 5ST2/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
349 | 620/01 (6' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1450 | 1450
350 | 621/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
351 | 621/02 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
352 | 623/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
353 | 624/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
354 | 6ST1/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
355 | 6ST2/01 (3' - 0" X 7' - 0" X 1 3/4" FLUSH) | 1 | EA | 1150 | 1150
INTERIOR DOOR HARDWARES
356 | NO. OF SETS: hydraulic closers push-pull set, lock cylinder, weather-stripping and thresholds. | 51 | EA | 175 | 8925
WINDOWS
357 | W1 - 5' X 10' WINDOW | 4 |  | 1850 | 7400
358 | W1A - 5' X 10' WINDOW | 11 |  | 1850 | 20350
359 | W1B - 5' X 10' WINDOW | 12 |  | 1850 | 22200
360 | W2 - 2'-8"X 10' WINDOW | 16 |  | 1500 | 24000
361 | W2A - 2'-8"X 10' WINDOW | 7 |  | 1500 | 10500
362 | W3 - 5' X 10' - 1 3/8" WINDOW | 1 |  | 1850 | 1850
363 | W4 - 2'-8" X 10' - 1 3/8" WINDOW | 1 |  | 1500 | 1500
364 | W5 - 7' - 8"X 10' - 1 3/8" WINDOW | 7 |  | 2200 | 15400
365 | W6 - 7' - 8"X 10 WINDOW | 16 |  | 2200 | 35200
366 | W6A - 7' - 8"X 10 WINDOW | 9 |  | 2200 | 19800
367 | W6B - 7' - 8"X 10 WINDOW | 13 |  | 2200 | 28600
368 | W6C - 7' - 8"X 10 WINDOW | 19 |  | 2200 | 41800
369 | W6 D- 7' - 8"X 10 WINDOW | 10 |  | 2200 | 22000
370 | W7 - 12'- 8" X 10' WINDOW | 2 |  | 2600 | 5200
371 | W7A - 12'- 8" X 10' WINDOW | 4 |  | 2600 | 10400
372 | W7B - 12'- 8" X 10' WINDOW | 14 |  | 2600 | 36400
373 | W8 - 12'- 8" X 10' - 1 3/8" WINDOW | 4 |  | 2600 | 10400
| Subtotal (Thermal and Moisture Protection ) |  |  |  |  | 410925
Division 10 — Specialties
BATH FIXTURES
374 | WATER CLOSET | 48 | EA | 850 | 40800
375 | LAVATORY | 36 | EA | 850 | 30600
ACCESSORIES
376 | A1-Frameless Mirror, 18"w x 30"h | 36 | EA | 450 | 16200
377 | A2-Recessed Paper Towel Dispenser And Waste Receptacle | 24 | EA | 250 | 6000
378 | A3-Partition-Mounted Dual-Sided Multi-Roll Toilet Tissue Dispenser | 18 | EA | 55 | 990
379 | A4-Surface-Mounted Sanitary Napkin Disposal | 24 | EA | 220 | 5280
380 | A5-Classic Series Surface Mounted Seat Cover Dispenser | 36 | EA | 280 | 10080
381 | A6-Stainless Steel Grab Bars - 18", 36", & 42" Bar Set | 12 | EA | 120 | 1440
382 | A7-Soap Dispenser - Counter-mounted | 36 | EA | 85 | 3060
| Subtotal (Specialties) |  |  |  |  | 114450
Division 16 — Mechanical
Heating, Ventilation, and Air Conditioning
383 | i. A combination heating and air conditioning system sized at approximately one (1) ton of cooling capacity per 350 square feet of floor area, including temperature control devices and supply and return air duct drops through the building. | 124940 | SQ FT | 13.2 | 1649208
| Subtotal (Mechanical) |  |  |  |  | 1649208
Division 16 — Electrical
POWER PLAN
384 | 1- CLASS 3200 SMART METER BY EMON DMON: MODEL E32-480100-REZ7KIT.METER SHALL MONITOR THE ELECTRICAL CONSUMPTION LOADS FOR THE GARAGE PANELG1. | 1 | EA | 350 | 350
385 | 2- SERVICE RATED,FIRE PUMP CONTROLLER WITH INTEGRAL ATS TO BE PROVIDE BY FIRE PROTECTION CONTRACTOR. | 1 | EA | 600 | 600
386 | 3- PROVIDE 1#2G; GROUND TO BUILDING STEEL PER NEC. | 6 | EA | 1000 | 6000
387 | 4- UTILITY COMPANY METER, LOCATED ON THE EXTERIOR OF THE BUILDING.COORDINATE THE EXACT LOCATION IN THE FIELD WITH THE UTILITY COMPANY & OWNER. | 1 | EA | 350 | 350
388 | 7- 4#250KCMIL + #2G - 3"C. | 6 | EA | 1000 | 6000
389 | 9- 1#6G; CONNECT TO BUILDING GROUNDING ELECTRODE SYSTEM. | 1 | EA | 1000 | 1000
390 | 12- 1-1/2" RIGID CONDUIT. | 1 | EA | 1000 | 1000
391 | 112.5 KVA XFMR | 6 | EA | 1000 | 6000
392 | PANEL H6 | 1 | EA | 3500 | 3500
393 | PANEL L6 | 1 | EA | 3500 | 3500
394 | PANEL H5 | 1 | EA | 3500 | 3500
395 | PANEL L5 | 1 | EA | 3500 | 3500
396 | PANEL H4 | 1 | EA | 3500 | 3500
397 | PANEL L4 | 1 | EA | 3500 | 3500
398 | PANEL H3 | 1 | EA | 3500 | 3500
399 | PANEL- L3 | 1 | EA | 3500 | 3500
400 | PANEL H2 | 1 | EA | 3500 | 3500
401 | PANEL L2 | 1 | EA | 3500 | 3500
402 | PANEL H1 | 1 | EA | 3500 | 3500
403 | PANEL L1 | 1 | EA | 3500 | 3500
404 | FIRE PUMP 53.8 HP,460V,3-PHASE | 1 | EA | 850 | 850
405 | #6; GND PER NEC | 1 | EA | 1000 | 1000
406 | 15 KVA XFMR | 1 | EA | 1000 | 1000
407 | #8G; GND PER NEC | 1 | EA | 1000 | 1000
408 | 4#6 + 1#8G - 1"C | 1 | EA | 1000 | 1000
409 | 3#10 + 1#10G - 3/4"C | 1 | EA | 1000 | 1000
410 | UTILITY COMPANY TRANSFORMER | 1 | EA | 1000 | 1000
411 | 125A CB | 1 | EA | 1000 | 1000
412 | #3G; GND PER NEC | 1 | EA | 1000 | 1000
413 | WATER BOSSTER PUMP | 1 | EA | 1850 | 1850
414 | ELEVATOR SUMP PUMP | 1 | EA | 2200 | 2200
415 | i. The premises will be protected by a standard grid automatic fire suppression sprinkler system with upturned sprinkler heads within the bar joists of the Premises. | 6500 | FT | 22 | 143000
416 | ii. All necessary control and power wiring for HVAC equipment. | 3544 | FT | 17 | 60248
| Subtotal (Specialties) |  |  |  |  | 279448
Division 22 — Plumbing
417 | WATER HEATER | 2 | EA | 450 | 900
418 | RTU-1 (1800 CFH) | 1 | EA | 8000 | 8000
419 | RTU-2 (1800 CFH) | 1 | EA | 8000 | 8000
420 | RTU-3 (500 CFH) | 1 | EA | 4500 | 4500
421 | RTU-4 (500 CFH) | 1 | EA | 4500 | 4500
422 | i. Sanitary sewer stubbed in and valved cold water supply. | 2200 | FT | 18 | 39600
423 | ii. Gas piping as required for HVAC units. | 780 | FT | 18 | 14040
| Subtotal (Plumbing) |  |  |  |  | 79540
Division 32 — Exterior Improvements
424 | Acer rubrum `Armstrong` | 3 | EA | 550 | 1650
425 | Gleditsia triacanthos `Skyline Skyline Honey Locu | 6 | EA | 400 | 2400
426 | Platanus x acerifolia `Exclamation`TM'Exclamation London Plane Tree | 3 | EA | 500 | 1500
427 | Quercus phellos Willow Oak | 12 | EA | 500 | 6000
428 | Tillandsia americana Greenspire American Linden `Greenspire | 2 | EA | 550 | 1100
429 | Abelia x `Rose Creek` Rose Creek Abelia (7 gal) | 16 | EA | 300 | 4800
430 | Ilex aquipernyi `Dragon Lady` `Dragon Lady` Holly | 2 | EA | 350 | 700
431 | Itea virginica `Little Henry` TM (5 gal 24" O.C.) Virginia Sweetspire | 108 | EA | 220 | 23760
432 | Prunus laurocerasus `Otto (5 gal) Luyken` Luykens Laurel | 31 | EA | 220 | 6820
433 | Rosa x `Blushing Knockout` (5 gal) Pink Knockout Rose | 32 | EA | 220 | 7040
434 | Hemerocallis x `Pardon Me` (1 gal 18" O.C.) Pardon Me Daylily | 192 | EA | 86 | 16512
435 | Liriope muscari `Big Blue` (1 gal 16 " O.C.) Big Blue Lilyturf | 1131 | EA | 80 | 90480
| Subtotal (Exterior Improvements) |  |  |  |  | 162762
SUBTOTAL | [5 empty] | 7440476.6527
OVERHEAD & PROFIT | 15% |  |  |  |  | 1116071.4979
INSURANCE | 5% |  |  |  |  | 372023.8326
CONTINGENCY | 8% |  |  |  |  | 595238.1322
|  | TOTAL SUGGESTED BID |  |  |  | 9523810.11